GUIDANCE NOTE #2 – pre-load torque settings   (PEG ANCHOR)

1. INTRODUCTION

This guidance note provides details on recommended torque settings for specified diameter dimensions.

2. RECOMMENDED PRE-LOAD TORQUE SETTINGS

Bolt Diameter						Torque Load

M8							20 NM

M10							35 NM

M12							50NM

M14							75NM

M16							100NM

M20							125 NM

M22							150 NM

M24							175 NM

3. GENERAL

For items with a non-stock diameter, please contact our sales department for further advice on (0116) 251 2251.